{"text_format":"3","workbook":"xls","n_sheets":14,"sheets":["1.1 D.1 建设项目投标报价汇总表","2.1 D.2 单项工程投标报价汇总表","3.1 单位工程最高投标限价汇总表","3.2 E.1 分部分项工程量清单计价表(所有标题)","3.3 附录F 措施项目清单计价表","3.4 附录G 不可竞争项目清单与计价表","3.5 H.1 其他项目清单与计价汇总表","3.6 附录I 税金计价表","4.1 单位工程最高投标限价汇总表","4.2 E.1 分部分项工程量清单计价表(所有标题)","4.3 附录F 措施项目清单计价表","4.4 附录G 不可竞争项目清单与计价表","4.5 H.1 其他项目清单与计价汇总表","4.6 附录I 税金计价表"],"not_rendered":{"external_links":1,"defined_names":14},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 D.1 建设项目投标报价汇总表","index":0,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]],"flags":["formulas_cached_only"]}
["D.1 建设项目投标报价汇总表"]
["工程名称：歙县古溪至宾虹大道段围墙工程",{"$nulls":5},"第1页 共1页"]
["序号","单项工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","歙县古溪至宾虹大道段围墙工程",null,null,"132167.87","",null,"7597.52"]
{"$rows_empty":37}
["合计",{"$nulls":3},"132167.87","",null,"7597.52"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：本表适用于建设项目最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"2.1 D.2 单项工程投标报价汇总表","index":1,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]],"flags":["formulas_cached_only"]}
["D.2 单项工程投标报价汇总表"]
["工程名称：歙县古溪至宾虹大道段围墙工程",{"$nulls":5},"第1页 共1页"]
["序号","单位工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","围墙",null,null,"118777.22","",null,"7597.52"]
["2","广告牌",null,null,"13390.65","",null,""]
{"$rows_empty":36}
["合计",{"$nulls":3},"132167.87","",null,"7597.52"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：本表适用于单项工程最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"3.1 单位工程最高投标限价汇总表","index":2,"n_rows":44,"n_cols":7,"rows_kept":44,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,3],[41,5,41,6],[43,2,43,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：围墙",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"99551.10",""]
["1.1","  定额人工费",null,null,"31239.21",""]
["1.2","  定额机械费",null,null,"1284.39",""]
["1.3","  综合费",null,null,"7489.29",""]
["2","措施项目费",null,null,"1821.31",""]
["3","不可竞争费",null,null,"7597.52",""]
["3.1","  安全文明施工费",null,null,"7597.52",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"9807.29",""]
{"$rows_empty":24}
["工程造价=1+2+3+4+5",{"$nulls":3},"118777.22",""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.2 E.1 分部分项工程量清单计价表(所有标题)","index":3,"n_rows":66,"n_cols":14,"rows_kept":66,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,2,6,3],[6,5,6,6],[6,10,6,11],[7,2,7,3],[7,5,7,6],[7,10,7,11],[8,2,8,3],[8,5,8,6],[8,10,8,11],[9,2,9,3],[9,5,9,6],[9,10,9,11],[10,0,11,0],[10,1,11,1],[10,2,11,3],[10,4,11,4],[10,5,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,11],[10,12,11,12],[10,13,11,13],[12,0,13,0],[12,1,13,1],[12,2,13,3],[12,4,13,4],[12,5,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,11],[12,12,13,12],[12,13,13,13],[14,2,14,3],[14,5,14,6],[14,10,14,11],[15,2,15,3],[15,5,15,6],[15,10,15,11],[16,0,17,0],[16,1,17,1],[16,2,17,3],[16,4,17,4],[16,5,17,6],[16,7,17,7],[16,8,17,8],[16,9,17,9],[16,10,17,11],[16,12,17,12],[16,13,17,13],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,0,20,13],[22,3,22,13],[23,0,23,13],[24,0,24,5],[24,6,24,10],[24,11,24,13],[25,0,27,0],[25,1,27,1],[25,2,27,3],[25,4,27,4],[25,5,27,6],[25,7,27,7],[25,8,25,13],[26,8,27,8],[26,9,27,9],[26,10,26,13],[27,10,27,11],[28,2,28,3],[28,5,28,6],[28,10,28,11],[29,2,29,4],[29,5,29,6],[29,10,29,11],[30,2,30,3],[30,5,30,6],[30,10,30,11],[31,2,31,3],[31,5,31,6],[31,10,31,11],[32,2,32,3],[32,5,32,6],[32,10,32,11],[33,2,33,3],[33,5,33,6],[33,10,33,11],[34,2,34,3],[34,5,34,6],[34,10,34,11],[35,2,35,3],[35,5,35,6],[35,10,35,11],[36,2,36,3],[36,5,36,6],[36,10,36,11],[37,2,37,3],[37,5,37,6],[37,10,37,11],[38,2,38,3],[38,5,38,6],[38,10,38,11],[39,2,39,3],[39,5,39,6],[39,10,39,11],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,2,45,3],[45,5,45,6],[45,10,45,11],[46,2,46,3],[46,5,46,6],[46,10,46,11],[47,2,47,3],[47,5,47,6],[47,10,47,11],[48,2,48,3],[48,5,48,6],[48,10,48,11],[49,2,49,3],[49,5,49,6],[49,10,49,11],[50,2,50,3],[50,5,50,6],[50,10,50,11],[51,2,51,3],[51,5,51,6],[51,10,51,11],[52,2,52,3],[52,5,52,6],[52,10,52,11],[53,2,53,3],[53,5,53,6],[53,10,53,11],[54,2,54,3],[54,5,54,6],[54,10,54,11],[55,2,55,3],[55,5,55,6],[55,10,55,11],[56,2,56,3],[56,5,56,6],[56,10,56,11],[57,2,57,3],[57,5,57,6],[57,10,57,11],[58,2,58,3],[58,5,58,6],[58,10,58,11],[59,2,59,3],[59,5,59,6],[59,10,59,11],[60,2,60,3],[60,5,60,6],[60,10,60,11],[61,2,61,3],[61,5,61,6],[61,10,61,11],[62,2,62,3],[62,5,62,6],[62,10,62,11],[63,2,63,3],[63,5,63,6],[63,10,63,11],[64,0,64,13],[65,3,65,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：围墙",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,null,"围墙",{"$nulls":4},"","","99551.10","",null,"",""]
["1","010101003001","挖沟槽土方",null,"1、土壤类别：综合土壤\n2、挖土深度：满足设计要求","m3",null,"49.140","3.43","168.55","14.74",null,"121.38",""]
["2","040103001001","回填方",null,"1、填方品种、规格：素土\n2、密实度：0.91上","m3",null,"8.770","2.77","24.29","2.19",null,"17.01",""]
["3","040103002001","余方弃置",null,"1、废弃料品种：综合土壤\n2、弃运点、运距：自定","m3",null,"40.370","7.93","320.13","11.30",null,"247.87",""]
["4","040303001001","混凝土垫层",null,"1、混凝土种类、强度级：C15自拌砼\n2、厚度：100mm","m3",null,"14.040","427.47","6001.68","246.82",null,"",""]
["5","010501002001","带型基础",null,"1、混凝土种类、强度级：C20自拌砼\n2、尺寸、规格：详见设计图纸\n3、其他：含模板在内，综合考虑报价","m3",null,"26.330","526.09","13851.95","1991.60",null,"8.43",""]
[]
["6","040305004001","砖砌体",null,"1、砖品种、规格、强度级：360*240*120混凝土砌块\n2、砂浆强度级：M10水泥砂浆\n4、含砖柱在内，综合考虑报价","m3",null,"96.930","465.06","45078.27","13434.50",null,"271.40",""]
[]
["7","011201001001","墙面一般抹灰",null,"1、面层厚度、砂浆配合比：10厚1:3水泥砂浆","m2",null,"795.890","22.35","17788.14","9861.08",null,"382.03",""]
["8","011406003001","满刮腻子",null,"1.外墙满批腻子 二遍","m2",null,"397.950","12.70","5053.97","2530.96",null,"95.51",""]
["9","WB041111009001","浆砌块料压顶",null,"1、材料品种、规格：砼预制块\n2、砂浆强度等级：M10水泥砂浆\n3、压顶砌筑造型：满足业主要求","m",null,"175.500","37.86","6644.43","2535.98",null,"78.98",""]
[]
["10","WB011701009002","工具式脚手架",null,"1、范围：外脚手架\n2、材质：工具式脚手架","m2",null,"386.100","2.90","1119.69","610.04",null,"61.78",""]
["11","011705001001","大型机械设备进出场及安拆",null,"1、综合作业范围内所有大型机械进出场及安拆费报价","项",null,"1.000","2000.00","2000.00","",null,"",""]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：围墙",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["12","011705001002","垃圾处理费",null,"1、现场垃圾清理、外运\n2、弃运点、运距：自定","项",null,"1.000","1500.00","1500.00","",null,"",""]
[null,null,"分部小计",{"$nulls":4},"","","99551.10","",null,"",""]
{"$rows_empty":35}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.3 附录F 措施项目清单计价表","index":4,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：围墙",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","SC-01",null,"夜间施工增加费",null,"32523.60","0.500",null,"162.62"]
["2","SC-02",null,"二次搬运费",null,"32523.60","1.200",null,"390.28"]
["3","SC-03",null,"冬雨季施工增加费",null,"32523.60","0.800",null,"260.19"]
["4","SC-04",null,"已完工程及设备保护费",null,"32523.60","0.100",null,"32.52"]
["5","SC-05",null,"工程定位复测费",null,"32523.60","0.900",null,"292.71"]
["6","SC-06",null,"临时保护设施费",null,"32523.60","0.100",null,"32.52"]
["7","SC-07",null,"行车、行人干扰增加费",null,"32523.60","0.200",null,"65.05"]
["8","SC-08",null,"赶工措施费",null,"32523.60","1.800",null,"585.42"]
{"$rows_empty":30}
["合   计",{"$nulls":7},"1821.31"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.4 附录G 不可竞争项目清单与计价表","index":5,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：围墙",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","SF-01",null,"环境保护费",null,"32523.60","2.760",null,"897.65"]
["2","SF-02",null,"文明施工费",null,"32523.60","7.330",null,"2383.98"]
["3","SF-03",null,"安全施工费",null,"32523.60","5.280",null,"1717.25"]
["4","SF-04",null,"临时设施费",null,"32523.60","7.990",null,"2598.64"]
["5","SF-05",null,"环境保护税",null,"0","",null,""]
{"$rows_empty":33}
["合   计",{"$nulls":7},"7597.52"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.5 H.1 其他项目清单与计价汇总表","index":6,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：围墙",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.6 附录I 税金计价表","index":7,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：围墙",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费-暂列金额",null,"108969.93",null,"9.000","9807.29"]
{"$rows_empty":36}
["合  计",{"$nulls":7},"9807.29"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.1 单位工程最高投标限价汇总表","index":8,"n_rows":44,"n_cols":7,"rows_kept":44,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,3],[41,5,41,6],[43,2,43,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：广告牌",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"12285.00",""]
["1.1","  定额人工费",null,null,"",""]
["1.2","  定额机械费",null,null,"",""]
["1.3","  综合费",null,null,"",""]
["2","措施项目费",null,null,"",""]
["3","不可竞争费",null,null,"",""]
["3.1","  安全文明施工费",null,null,"",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"1105.65",""]
{"$rows_empty":24}
["工程造价=1+2+3+4+5",{"$nulls":3},"13390.65",""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.2 E.1 分部分项工程量清单计价表(所有标题)","index":9,"n_rows":44,"n_cols":14,"rows_kept":44,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,4],[5,5,5,6],[5,10,5,11],[6,2,6,3],[6,5,6,6],[6,10,6,11],[7,2,7,4],[7,5,7,6],[7,10,7,11],[8,2,8,3],[8,5,8,6],[8,10,8,11],[9,2,9,3],[9,5,9,6],[9,10,9,11],[10,2,10,3],[10,5,10,6],[10,10,10,11],[11,2,11,3],[11,5,11,6],[11,10,11,11],[12,2,12,3],[12,5,12,6],[12,10,12,11],[13,2,13,3],[13,5,13,6],[13,10,13,11],[14,2,14,3],[14,5,14,6],[14,10,14,11],[15,2,15,3],[15,5,15,6],[15,10,15,11],[16,2,16,3],[16,5,16,6],[16,10,16,11],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,2,20,3],[20,5,20,6],[20,10,20,11],[21,2,21,3],[21,5,21,6],[21,10,21,11],[22,2,22,3],[22,5,22,6],[22,10,22,11],[23,2,23,3],[23,5,23,6],[23,10,23,11],[24,2,24,3],[24,5,24,6],[24,10,24,11],[25,2,25,3],[25,5,25,6],[25,10,25,11],[26,2,26,3],[26,5,26,6],[26,10,26,11],[27,2,27,3],[27,5,27,6],[27,10,27,11],[28,2,28,3],[28,5,28,6],[28,10,28,11],[29,2,29,3],[29,5,29,6],[29,10,29,11],[30,2,30,3],[30,5,30,6],[30,10,30,11],[31,2,31,3],[31,5,31,6],[31,10,31,11],[32,2,32,3],[32,5,32,6],[32,10,32,11],[33,2,33,3],[33,5,33,6],[33,10,33,11],[34,2,34,3],[34,5,34,6],[34,10,34,11],[35,2,35,3],[35,5,35,6],[35,10,35,11],[36,2,36,3],[36,5,36,6],[36,10,36,11],[37,2,37,3],[37,5,37,6],[37,10,37,11],[38,2,38,3],[38,5,38,6],[38,10,38,11],[39,2,39,3],[39,5,39,6],[39,10,39,11],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,0,42,13],[43,3,43,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：广告牌",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
[null,null,"广告",{"$nulls":4},"","","12285.00","",null,"",""]
["1","01B001","广告标识标牌",null,"1、广告材质、样式、规格：满足业主要求","m",null,"175.500","70.00","12285.00","",null,"",""]
[null,null,"分部小计",{"$nulls":4},"","","12285.00","",null,"",""]
{"$rows_empty":35}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.3 附录F 措施项目清单计价表","index":10,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：广告牌",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","SC-01",null,"夜间施工增加费",null,"0","0.500",null,""]
["2","SC-02",null,"二次搬运费",null,"0","1.200",null,""]
["3","SC-03",null,"冬雨季施工增加费",null,"0","0.800",null,""]
["4","SC-04",null,"已完工程及设备保护费",null,"0","0.100",null,""]
["5","SC-05",null,"工程定位复测费",null,"0","0.900",null,""]
["6","SC-06",null,"临时保护设施费",null,"0","0.100",null,""]
["7","SC-07",null,"行车、行人干扰增加费",null,"0","0.200",null,""]
["8","SC-08",null,"赶工措施费",null,"0","1.800",null,""]
{"$rows_empty":30}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.4 附录G 不可竞争项目清单与计价表","index":11,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：广告牌",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","SF-01",null,"环境保护费",null,"0","2.760",null,""]
["2","SF-02",null,"文明施工费",null,"0","7.330",null,""]
["3","SF-03",null,"安全施工费",null,"0","5.280",null,""]
["4","SF-04",null,"临时设施费",null,"0","7.990",null,""]
["5","SF-05",null,"环境保护税",null,"0","",null,""]
{"$rows_empty":33}
["合   计",{"$nulls":7},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.5 H.1 其他项目清单与计价汇总表","index":12,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：广告牌",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"4.6 附录I 税金计价表","index":13,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：广告牌",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费-暂列金额",null,"12285.00",null,"9.000","1105.65"]
{"$rows_empty":36}
["合  计",{"$nulls":7},"1105.65"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]